New Mill Infant School | New Mill Junior School
[image: image5.png]


[image: image6.png]




[image: image7.png]



Cumberworth CE First School
Fire Safety Policy
	Approved by:
	Governing Body
	Date: 1st October 2025

	Last reviewed on:
	N/a

	Next review due by:
	30th September 2026


AIMS

It is the overall aim of Cumberworth CE First School to minimise the risks to staff, pupils, visitors and members of the public in the immediate vicinity of the school, which may arise from fire, and to comply with the Regulatory Reform (Fire Safety) Order 2005.

This will be achieved by conducting, recording and acting upon regular fire risk assessments, ensuring suitable precautions are taken to avoid fires occurring and by ensuring that procedures for minimising the effects of an outbreak of fire and evacuating the premises in an emergency are in place.

OVERALL RESPONSIBILITY FOR FIRE SAFETY MATTERS

The Headteacher has responsibility for the school and has overall responsibility for fire safety matters. They shall coordinate the implementation of fire safety measures, ensure that staff and pupil training takes place and monitor the standard of fire precautions maintained. The Headteacher shall also ensure that an emergency evacuation drill is undertaken early in each term, that fire action notices are kept up to date and that suitably qualified persons maintain fire safety equipment to the authorised schedule.

The responsibility for premises management at Cumberworth CE First School is delegated to Vanessa Taylor, School Business Manager.

RESPONSIBILITY OF ALL SCHOOL STAFF

All school staff are responsible for maintaining a high standard of fire precautions in areas under their control or influence. Staff should ensure that they are fully aware of the emergency evacuation procedure. They shall ensure that fire windows and fire exits are kept clear and that fire doors are kept shut. They shall also ensure pupils for whom they are responsible know the school fire procedure.

FIRE RISK ASSESSMENT

The School Business Manager shall ensure that a fire risk assessment is carried out every 12 months, or earlier if required (e.g. following significant changes to the premises, an incident or notification from an appropriate authority). The fire risk assessment shall be conducted by a competent person, as detailed in the Regulatory Reform (Fire Safety) Order 2005, the findings acted upon by the governors and a copy kept on file.

THE SCHOOL FIRE PROCEDURE

Notices displaying the School Fire Procedure are displayed at each fire alarm call point and shall be of the approved format and the current issue.

FIRE TRAINING AND EMERGENCY EVACUATION DRILLS

All staff will have the fire procedure explained to them, together with information on the location of fire alarm call points, the sound of the fire alarm and the location of the escape routes and alternatives, exits and assembly points. Training will be provided at least every three years for all teaching and admin staff in fire safety, including training in the practical use of fire extinguishers.
It is the responsibility of the School Business Manager to ensure this instruction is given in accordance with the Checklist. The SBM shall also ensure that all fire safety and training records are maintained and are available for inspection by any enforcement authority or the Headteacher.

MAINTENANCE OF FIRE SAFETY EQUIPMENT AND SYSTEMS

Fire extinguishers, fire alarm systems and emergency lighting are maintained under a central contract administered by professionally qualified consultants:

	System
	Frequency
	Provider 2022

	Fire Fighting Equipment and practical training
	Annual
	Samson Fire Ltd

Sam’s Mobile: 07767 613240, Office Mobile: 07485 903610 , Office Tel: 01924 494443 / 01484 556945

Admin/Accounts: admin@samsonfireltd.co.uk

Service/Sales: service@samsonfireltd.co.uk

Unit 3, Innovation 25, Bradley Business Park

Bradley, Huddersfield, HD2 1ZT

	Fire Alarm System
	6 Monthly
	XXXXXXX


 

TESTING OF FIRE SAFETY EQUIPMENT & SYSTEMS

The School Business Manager in conjunction with the Caretaker shall carry out the following tests on the systems and precautions between maintenance visits, recording and acting upon the findings:

 

	System
	Frequency
	Method of Test

	Corridors, Escape Routes and Fire Exit Doors
	Daily
	Check that fire exit doors are unlocked, escape routes are free of obstruction and that the padlock is removed from the double gates.

	Fire Alarm
	Daily
	Visual check of panel for fault indications.

	Fire Alarm Call Points
	Weekly
	Test key operation of different call point each week in rotation.

	Fire Extinguishers, Hose Reels, Fire Blankets etc…
	Weekly
	Check that seals are intact; equipment has not been removed or tampered with and that the annual inspection and maintenance is in date.

	Fire Doors
	Weekly
	Check that doors are closing fully and, where fitted, latches are operating.

	Fire Exit Doors
	Weekly
	Check that the doors are opening freely and that emergency exit fittings are operating.

	Emergency Lighting
	Half Termly
	Operation of test switch or circuit breaker and check that lights illuminate.


RAISING THE ALARM

Upon discovering a fire, the alarm shall be raised by immediate activation of the closest fire alarm call point.
CALLING THE FIRE BRIGADE
Where the alarm is raised by the school’s automatic smoke detection system, the fire brigade will be contacted by a member of the office staff. Should a member of staff discover a fire they should activate the schools alarm system via the nearest emergency point. This should trigger the automatic dispatch of the fire brigade. Admin staff should contact 999 and check the fire brigade are on their way or to cancel them in the event of a false alarm.
EVENTS OUT OF SCHOOL & EXTERNAL LETTINGS

Where events are organised outside of normal school hours, it is the responsibility of the member of staff organising the event to ensure that the School Business Manager is consulted and that appropriate precautions, including arrangements for evacuation and calling the fire brigade, are in place.

The Headteacher may impose specific restrictions on the type of letting or activity, the number of persons involved and the number and layout of any seating.

It is particularly important to consider whether a public entertainment license will be needed for the event being organised. Where a license is required, the licensing officer may specify particular requirements as a condition of the license, and these conditions will have to be met.
NOTICES

Clear signs, meeting relevant legislation, indicate all fire escape routes, fire exits, fire doors, fire fighting equipment and assembly points.

RECORDS

All service records to be stored safely in a fireproof office cabinet. The School Business Manager is responsible for maintaining the following records:

 

	Record Type
	Information to be Recorded

	Fire Alarm Test
	Date of test, number of call points tested and whether test was satisfactory, including whether automatic door releases operated.

	Emergency Lights

 
	Date of test, numbers or locations of lights tested and whether test was satisfactory.

	Free operation of fire exit doors
	Date of test, list of all fire exit doors checked and results of tests.

	Emergency Evacuation Drill
	Date of drill, time taken to evacuate and details of any lessons learnt / areas for improvement.

	Fire Safety Training
	Date of training, nature of training, duration of training, names of trainees and name of instructor.

	Fire Risk Assessment
	Date of assessment, name of assessor, reason for assessment, findings of assessment and details of any recommendations.


EMERGENCY EVACUATION PROCEDURE
Please Note:
ALL EMERGENCY EVACUATIONS OF THE PREMISES MUST FOLLOW THIS PROCEDURE (E.g,. Fire, Gas Leak, Bomb Alert etc…)

Only attempt to use fire extinguishers on small fires if you are trained / confident to do so.

In the event of a missing person, report immediately to the Headteacher or Business Support Officer DO NOT GO BACK INTO THE BUILDING until the Headteacher or Business Support Officer  has given the all clear.

	ACTION WHEN THE FIRE ALARM SOUNDS

	Role
	Action / Responsibility

	Class Teachers/ ETAs 
	Instruct pupils to remain calm, to leave all personal belongings and to line up in their set line up order at the nearest / most appropriate exit.

Immediately evacuate the building taking all pupils in your charge through the nearest / most appropriate exit.

Close the doors and windows on leaving.

Lead all pupils to designated assembly point via the quickest/safest route and line up.

In the event of a Gas Leak or Bomb Alert the assembly point may change 

Ask the children to count off and carry out a head count. 

Once you have your register you can confirm numbers by calling the register. 

Notify a member of SLT immediately of any missing pupils, staff or students so a search can be initiated.
Wait for further instruction.

In the event of a fire preventing persons from exiting the classroom, the responsible staff member must keep a calm composure, ensure the classroom fire door is closed and await further instructions from the emergency services.

	Office Staff
	Call the fire brigade (999) giving your name and the school’s name and address: 
Cumberworth CE First School, Cumberworth Lane, Upper Cumberworth, Huddersfield HD8 8NU

Check the fire brigade has been dispatched or cancel in event of a false alarm. 
Pick up registers, gate keys, medical bag and evacuation pack.

Leave the building through the nearest/most appropriate exit and go to the assembly point.

Distribute registers to the Class Teachers – ensure all classes are present.

Check visitors present against visitors sign in sheet
Check staff against staff sign in sheet 

Notify a member HT immediately of any missing classes, pupils, staff or visitors so a search can be initiated.

Wait for further instruction.

	HT/SENDCO (if not teaching)
	Whilst exiting the building, thoroughly check the areas you move through, ensuring all fire doors are closed.

Checks on toilet areas should include a check on individual cubicles.

If you encounter any persons present, they should be instructed to evacuate immediately. All persons should be ushered to an appropriate exit – not just pointed in the general direction of one.

· Never open a door if you suspect that there may be a fire beyond it.



	Headteacher
	Leave the building through the nearest/most appropriate exit and go to assembly point.

Check with Class Teachers for missing pupils.

Check with Office Staff for missing classes, staff, students or visitors.

If persons reported missing and fire brigade yet to arrive, conduct search for missing persons – if safe to do so.
If persons reported missing and fire brigade have arrived, inform the fire brigade and follow their instructions.

	Kitchen Staff
	Switch off the power.

Leave the building through the nearest / most appropriate exit and go to the designated assembly point.

	Visitors
	Leave the building through the nearest / most appropriate exit and go to the assembly point.


 

 DESIGNATED ASSEMBLY POINTS FOR ALL STAFF, PUPILS AND VISITORS
Class 1: on the back field

Class 2: front playground

Class 3: on the back field

Class 4: front playground via internal door into class 2 and through their 

Hall/Sunshine Club: front playground

Rainforest: front playground

Library: through the hall and into the front playground

Gym: back field

Staffroom: front playground

Kitchen: front playground

If an evacuation is needed at an outdoor break or PE session, please stay in the outdoor area you are in at that time.

In the event of a gas leak the evacuation point will be away from the school at St Nicholas church
ROLES AND RESPONSIBILITIES IN AN EMERGENCY EVACUATION

	Role / Responsibility
	Person Responsible
	In case of Absence (1)
	In case of Absence (2)

	Evacuation Manager

Check with Class Teachers for missing pupils.

Check with Office Staff for missing visitors.

Conduct search for missing persons – if safe to do so and fire brigade yet to arrive.

Inform fire brigade of any missing persons.
	FC
	EC
	KR

	Calling the fire brigade: fire discovered by individual
	FC/EC/Individual

	Calling the fire brigade: automated fire detection alarm
	EC
	FC
	KR

	Distributing class registers
	Class teachers to take own class list out

	Holding and checking visitors sign in sheet
	EC
	FC
	KR

	Meeting the fire brigade
	EC
	KR
	JE

	Checking of  Adult WC Toilets/ staffroom
	FC
	EC
	KR

	Checking of Class Toilets
Corridor toilets
	Class 1 – JS
KR
	FC
FC
	CT
EC




STAFF FIRST DAY INDUCTION FIRE SAFETY CHECKLIST

To be followed during the first day induction for all new staff members.

To also be followed for all existing staff members following significant changes to the fire safety arrangements or when recommended following a fire risk assessment.

Take the new staff member through the fire safety procedure as displayed at the fire alarm call points, in particular:

1. Show them the location of the fire alarm call points and describe the way they operate. Emphasise that the first action upon discovering a fire is to raise the alarm, even if the fire is considered small.

2. Describe to them the sound of the fire alarm and the action to be taken when it sounds, in particular leaving the building with any pupils for which they are responsible and going to the assembly point.

3. Describe and walk the escape routes and alternative escape routes that they are likely to need to use, and show the operation of any push bars or exit fittings.

4. Show them the location of the fire extinguishers, but emphasise that they should only be used if they have been previously trained in their use, if they consider it safe to do so and if the alarm has already been raised and an evacuation started.

CHECKLIST FOR USE OF PREMISES OUT OF SCHOOL HOURS

1. To be followed when arrangements have been made for use of the school premises out of school hours.

2. Take the hirer/responsible staff member through the fire safety procedure as displayed at the fire alarm call points, in particular:

3. Show them the location of the fire alarm call points and describe the way they operate. Emphasise that the first action upon discovering a fire is to raise the alarm, even if the fire is considered small.

4. Describe to them the sound of the fire alarm and the action to be taken when it sounds, in particular leaving the building with any persons for whom they are responsible for and going to the assembly point.

5. Describe and walk the escape routes and alternative escape routes that they are likely to need to use, and show the operation of any push bars or exit fittings.

6. Show them the location of the fire extinguishers, but emphasise that they should only be used if they have been previously trained in their use, if they consider it safe to do so and if the alarm has already been raised and an evacuation started.

7. Explain to them how to contact the fire brigade (whether or not an automatic call is made) and where the nearest telephone point can be found. Give clear instructions as to the name, location and postcode of the school.

[image: image1.png]


[image: image2.png]


[image: image3.png]


[image: image4.png]



[image: image8.png]


Page | 1
Page | 6

